## Slide 1: Vertical Position Reconstruction Update

## Slide 2
Messagew York betsy ---

## Slide 5
Can be added to nemo-3 read stuff on docdb?

## Slide 6
Vertical Position Reconstruction Overview
SuperNEMO Collaboration Meeting - Edinburgh
04/06/23
Sam Pratt

## Slide 7
SuperNEMO tracker cells are used to measure e- position in detector
Timestamps used to calculate vertical position can be faulty
How do we recover position measurements in these cases?
How do we assess the uncertainty on these positions?
Tracker Timestamp Overview

## Slide 8
Tracker Cell
e-
Cathode
Cathode
Anode Wire
Electron Passes through cell
Avalanche triggered
Plasma propagates along anode
Plasma reaches both cathode ends

## Slide 9: Summary of Tracker Cell timestamps
e-
- avalanche reaches anode
- change in cathode potential
, - change in anode potential
- change cathode potential
, - change in anode potential
Cathode
Cathode
Differentiated Cathode Signal
Differentiated Anodic Signal

## Slide 10
+
+
+
Height of Hit
Cathode
Cathode
- calorimeter triggered
- change in cathode potential
, - change in anode potential
- change cathode potential
, - change in anode potential
Multiple ways to calculate height using timestamps

## Slide 11
Faulty Timestamps
There are scenarios in which timestamps are not present
Two examples shown below
Ideal Event
Faulty Event
Hit in cathode ring – no registered
Peaks from previous hit overlap

## Slide 12
Faulty Scenarios
0
1
2
3
4
5
6
7
8
9
10
E
Scenario Label
Hit Count (fraction total hit)
0 – All timestamps valid
1 – invalid
2 – invalid
4 – invalid
5 – & invalid
6 – & invalid
7 – & invalid
8 – & & invalid
9 – & & invalid
10 – & & invalid
E – all other scenarios
10 most common faulty TS scenarios
3 – & invalid
0.5
0.1
0.2
0.3
0.4

## Slide 13: Using anode timestamps as replacements
()
Ideal Case
or not recorded
LH plot shows relation between bottom and top cathode timestamps
RH plot shows same relation in events where or we’re not recorded
Anode timestamps have been used as replacement to calc and
Similar distribution recovered
More work to be done on exact calculation of and

## Slide 14
Uncertainty Considerations
Resolution of the longitudinal position:
can be found for individual cells

## Slide 15
Can verify uncertainty of ppt or height estimate via track fitting
Use this as regular check in analysis or only verification of method??
Certain variables also affect resolution:
Uncertainty Considerations - continued
Tracker
δ1
δ2
δ4
δ5
δ3
δ (cm)
Distribution we expect to see
Angle of the hit
Height of hit in cell
θ
e-
Use of anode timestamps

## Slide 16: Height calculation
NEMO-3 vertical position calculation:
First order term – assumes constant plasma velocity
2nd order correction - accounts for decreasing plasma speed
More sophisticated correction can be designed that takes into account:
Height equation assuming constant v:
time since cell last hit
time since neighboring cells hit
angle electron passed through cell
position of hit in cell
effect of using anode timestamps

## Slide 17: Effect of successive hits on plasma propagation time
1051
902
840
Plasma propagation time
Time since previous hit in same cell (sec)
Plasma propagation time
Plasma propagation time
Correction could be applied to NEMO data – take into account last hit time to correct z calculation
Similar effect
Time since previous hit in same cell (sec)
Time since previous hit in same cell (sec)

## Slide 18: Summary
Tracker timestamps need to be replaced in some situations
There are multiple ways in which timestamps can be misrecorded
A method for assessing the uncertainty of vertical position has been outlined
A different method for calculating vertical position has been suggested

## Slide 19: Backup Slides

## Slide 20: Voltage Signals

## Slide 21: Avalanche Overview

## Slide 22: Timestamps Overview
In normal scenario: t5 ~ t1, t3
t6 ~ t2, t4
In other scenarios these relations don’t hold
Prevents vertical position calculation
Aim is to produce code that recovers vertical position using other timestamps

## Slide 23: Variables affecting longitudinal resolution
Angle of the hit
Height of hit in cell
Nearby active cells
θ
e-
NEMO-3 data

## Slide 24: Non-constant plasma velocity
Time since hit (AU)
1051
902
840
Height in cell
Plasma propagation time
Height in cell
Plasma propagation time
Height in cell
Plasma propagation time

## Slide 25: Effect of successive hits on plasma propagation time
1051
902
840
Plasma propagation time
Time since previous hit in same cell (sec)
Plasma propagation time
Plasma propagation time
Correction could be applied to NEMO data – take into account last hit time to correct z calculation
Similar effect
Time since previous hit in same cell (sec)
Time since previous hit in same cell (sec)

## Slide 26: Plasma propagation times

## Slide 27: Plasma propagation time
1051
902
CALO HT=100mV LT=50mV ; TRACKER GA=40 HNT/LNT/HPT=1.4/1.6/1.8
CALO HT=50 LT=25 ; Tracker default
TRACKERHV 1550/1550/1570
Plasma propagation Time
Time since run began (s)

## Slide 28: Cathode Timestamps
Top Time
Bot Time
Crate 1
Crate 2
All hits with both cathode timestamps registered
General trend as expected
Unexpected fringe pattern
Unexpected data points near each axis
Crate dependency as expected
Bot_Time = -Top_Time + Plasma_Propagation_Time
Top Time
Notes: Plot shows top cath time vs bot cath time in event event where both cathode timestamps were valid and present
In ideal scenario would expect this plot to show one diagnol line through symmetric about y=x
This corresponds to a constant plasma propagation time
That general trend is as expected here
Key comments:
Strange situations where get fringes in the data
could be faulty cells - will investigate in future what causes this - can mitigate this effect somehow?
Get data points near each axis for some reason
The difference in plasma propagation times for each crate can also be seen
can use these timestamps to recover the vertical position of the electrons using equation shown

## Slide 29: Plasma propagation time
Plasma propagation Time
Time since previous hit in same cell

## Slide 30
Data structure
UDD  pCD
R1,R2,R3,R4,R5  drift time, cathodes[3]*, PPT[3]*
Uncertainties on these values
What else add?
pCD data storage
Include cd
Pcd format more unsure

## Slide 31: Height correction
In NEMO-3:
H’ = 2620mm
H = 2700mm
Different dimensions for SuperNEMO tracker cell but does same concept apply?
“Cathode signals exceed their electronic threshold a few cm before the plasma reaches the cathode ring”

## Slide 32
Clearly shows the fault is depenant on how goes wronmg
But this might already have been pointed out
By previous slide –
Perhaps this would be useful as an extra slide?
Too much detail otherwise???
Plot r5 and r6 like this aswell
(first and last – not r5 r6)

## Slide 33: Fringes
Do fringes still exist in these cases of specific scenarios
Show results of how well replacements worked for previous scenarios- Compared to how normal distribution looks with
R5 and R6

## Slide 34
What is the point of this talk?
General overview of tracker timestamps for certain people
Examples of cases where the timestamps are faulty
Update on info ability to correct using anode and cathode timestamps
Uncertainty analysis on these values
Opportunity for updated vertical position correction

## Slide 35: Non-constant plasma velocity
Velocity of plasma (AU)
Time since hit (AU)
Simple velocity model of the plasma
Height of hit (z/l)
Plasma propagation time (AU)
Centre of cell
Ie. Plasma slows down over time in this model, results in hits in middle having shorter plasma propagation times
Can measure this distribution !
1051
902
840
Height in cell
Plasma propagation time
Height in cell
Plasma propagation time
Height in cell
Plasma propagation time
Other factors may affect – eg.successive hits in nearby
Cells – maybe apply a correction factor here aswell
Evidence for decelerating plasma
Small correction factor could be added like
In nemo 3